{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Faq"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Faq","index":0,"n_rows":3,"n_cols":3,"rows_kept":3,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["N.ro","Domanda","Risposta"]
[1,"Buongiorno.\r\nSi richiede cortesemente di caricare i moduli necessari per la partecipazione in formato editabile o comunque NON FIRMATI DIGITALMENTE perchè ovviamente non utilizzabili.\r\nGrazie","La modulistica è consultabile (caricata on line oggi).\r\nDistinti saluti.\r\n\r\nIL RPFA\r\nDott. Benino Di Monte"]
[2,"Spett.le A.C.A.,\r\n\r\ncon la presente desideriamo cortesemente chiedere se la sostituzione riguarda esclusivamente le pompe KSB o se è prevista anche quella della pompa Caprari.\r\n\r\nRimaniamo in attesa di un vostro gentile riscontro.\r\n\r\nCordiali saluti","Buongiorno, l'elettropompa Caprari non è da sostituire (vedi pagina 8 della capitolato). Da sostituire solo le due elettropompe KSB.\r\nsaluti. \r\n\r\nIng. Paolo Palombo"]